## Sheet1
Vivid 360 Nicheless Retro Light
Model# | Color | Wattage | 12V Maximum Cable Length (18AWG New Cable) | 13V Maximum Cable Length (18AWG New Cable) | 14V Maximum Cable Length (18AWG New Cable) | Maximum Cable Resistance @12V (Existing Cable) | Maximum Cable Resistance @ 13V (Existing Cable) | Maximum Cable Resistance @ 14V (Existing Cable) | Color Temp or Wavelength | Lumens | Incandescent Equivalent | Plug Kit
300071-WT | White | 11 watts | 140' | 200' | 280' | 1.8 OHM | 2.7 OHM | 3.6 OHM | 6500K | 550 | 90 watts | 300000
300076-WW | Warm White | 11 watts | 140' | 200' | 280' | 1.8 OHM | 2.7 OHM | 3.6 OHM | 2850K | 510 | 85 watts | 300000
300070-BL | Blue | 11 watts | 140' | 200' | 280' | 1.8 OHM | 2.7 OHM | 3.6 OHM | 465nm | 180 | N/A | 300000
300077-T | Turtle(Amber) | 11 watts | 140' | 200' | 280' | 1.8 OHM | 2.7 OHM | 3.6 OHM | >560nm | 235 | N/A | 300000
300073-P | Pentair | 18 watts | 70' | 110' | 145' | 1.1 OHM | 1.7 OHM | 2.2 OHM | 6000K (white) | 425 (white) | 70 watts | 300000
300074-J | Jandy/Wall Switch | 15 watts | 70' | 110' | 145' | 1.3 OHM | 2.0 OHM | 2.6 OHM | 6000K (white) | 325 (white) | 50 watts | 300000
300075-H | Hayward | 19 watts | 70' | 110' | 145' | 1.1 OHM | 1.7 OHM | 2.2 OHM | >10000K (white) | 400 (white) | 65 watts | 300000
Vivid 360 Spa Retro Light
Model# | Color | Wattage | 12V Maximum Cable Length (18AWG New Cable) | 13V Maximum Cable Length (18AWG New Cable) | 14V Maximum Cable Length (18AWG New Cable) | Maximum Cable Resistance @12V (Existing Cable) | Maximum Cable Resistance @ 13V (Existing Cable) | Maximum Cable Resistance @ 14V (Existing Cable) | Color Temp or Wavelength | Lumens | Incandescent Equivalent | Plug Kit
VLS4004-WT | White | 25 watts | 70' | 100' | 140' | 0.8 OHM | 1.2 OHM | 1.6 OHM | 6500K | 985 | 165 watts | 400001
VLS4014-WW | Warm White | 25 watts | 70' | 100' | 140' | 0.8 OHM | 1.2 OHM | 1.6 OHM | 2850K | 900 | 155 watts | 400001
VLS4008-BL | Blue | 25 watts | 70' | 100' | 140' | 0.8 OHM | 1.2 OHM | 1.6 OHM | 465nm | 300 | N/A | 400001
VLS4000-T | Turtle(Amber) | 13 watts | 70' | 100' | 140' | 1.5 OHM | 2.3 OHM | 3.0 OHM | >560nm | 425 | N/A | 400001
VLS4000-P | Pentair | 25 watts | 60' | 90' | 120' | 0.8 OHM | 1.2 OHM | 1.6 OHM | 4000K (white) | 850 (white) | 140 watts | 400001
VLS4000-J | Jandy/Wall Switch | 21 watts | 60' | 90' | 120' | 1.0 OHM | 1.5 OHM | 2.0 OHM | 4000K (white) | 650 (white) | 110 watts | 400001
VLS4000-H | Hayward | 16 watts | 60' | 90' | 120' | 1.3 OHM | 1.9 OHM | 2.5 OHM | >10000K (white) | 380 (white) | 65 watts | 400001
Vivid 360 Pool Retro Light
Model# | Color | Wattage | 12V Maximum Cable Length (12AWG New Cable) | 13V Maximum Cable Length (12AWG New Cable) | 14V Maximum Cable Length (12AWG New Cable) | Maximum Cable Resistance @12V (Existing Cable) | Maximum Cable Resistance @ 13V (Existing Cable) | Maximum Cable Resistance @ 14V (Existing Cable) | Color Temp or Wavelength | Lumens | Incandescent Equivalent | Plug Kit
VLP2004-WT | White | 30 watts | 120' | 160' | 200' | 0.7 OHM | 1.0 OHM | 1.3 OHM | 6500K | 2950 | >300 watts | 400001
VLP2014-WW | Warm White | 30 watts | 120' | 160' | 200' | 0.7 OHM | 1.0 OHM | 1.3 OHM | 2850K | 2850 | >300 watts | 400001
VLP1004-BL | Blue | 30 watts | 120' | 160' | 200' | 0.7 OHM | 1.0 OHM | 1.3 OHM | 465nm | 580 | N/A | 400001
VLP3030-T | Turtle(Amber) | 22 watts | 120' | 160' | 200' | 1.0 OHM | 1.6 OHM | 2.5 OHM | >560nm | 1360 | N/A | 400001
VLP3030-P | Pentair | 28 watts | 120' | 160' | 200' | 0.7 OHM | 1.0 OHM | 1.3 OHM | 3000K | 1850 (white) | >250 watts | 400001
VLP3030-J | Jandy/Wall Switch | 20 watts | 120' | 160' | 200' | 1.0 OHM | 1.5 OHM | 2.0 OHM | 3800K | 1400 (white) | >150 watts | 400001
VLP3030-H | Hayward | 28 watts | 120' | 160' | 200' | 0.7 OHM | 1.0 OHM | 1.3 OHM | >10000K (white) | 1550 (white) | >200 watts | 400001
Spectrum 360 Nicheless Light
Model# | Color | Wattage | 12V Maximum Cable Length (12AWG New Cable) | 13V Maximum Cable Length (12AWG New Cable) | 14V Maximum Cable Length (12AWG New Cable) | Maximum Cable Resistance @12V (Existing Cable) | Maximum Cable Resistance @ 13V (Existing Cable) | Maximum Cable Resistance @ 14V (Existing Cable)
300081-WT | White | 12 watts | 120' | 160' | 200' | 2.0 OHM | 3.2 OHM | 4.4 OHM
300086-WW | Warm White | 12 watts | 120' | 160' | 200' | 2.0 OHM | 3.2 OHM | 4.4 OHM
300080-BL | Blue | 12 watts | 120' | 160' | 200' | 2.0 OHM | 3.2 OHM | 4.4 OHM
300087-T | Turtle(Amber) | 12 watts | 120' | 160' | 200' | 2.0 OHM | 3.2 OHM | 4.4 OHM
300083-P | Pentair | 12 watts | 120' | 160' | 200' | 2.0 OHM | 3.2 OHM | 4.4 OHM
300084-J | Jandy/Wall Switch | 12 watts | 120' | 160' | 200' | 2.0 OHM | 3.2 OHM | 4.4 OHM
300085-H | Hayward | 12 watts | 120' | 160' | 200' | 2.0 OHM | 3.2 OHM | 4.4 OHM